Operating Instructions for Wireless Handheld Ultrasound Software SOP
Software Platform：​Android    iOS/iPad    Windows
Applicable models: PeriodMed full series of handheld ultrasound scanners
1、Software Download and Installation
1.1 Android system
[image: 5b6b53dcd95d5e9300e55dea1c769878]
Please follow the official installation QR code to download and deploy the APK package.
1.2 iOS/iPad system

Go to the App Store, search"SonicAid" , and download and install the app. 
[image: 2d7951428bcbc720357b120e527d54a3]

Find the relevant software and click "Get" to download it directly.
1.3 Windows system
1.3.1 Download via link
http://healthweb.yonkercare.cn/special/UltrasoundTouch_x64_periodmed.zip
1. Copy the download link and paste it into your browser's address bar to trigger the download automatically.

1.3.2 Download via QR code
[image: 2d6ed74a2a96a9e487e3c68f0100d706]
1.Scan the QR code with your mobile device to download the installation package, then transfer it to your computer to complete the installation.

二、Probe Connection Procedure
2.1 Probe activation
Press and hold the snowflake button in the center for 3 seconds to power on, until the indicator light flashes, signaling that it is ready for connection.
2.2 Launch ultrasound software
Click the ultrasound application icon on the desktop or panel to launch the ultrasound software.
[image: 03259264072d5849234ed2ccd9271dbc]
[image: daeb149eafdbf2a59637d1a8870d55f1]
[image: a188bbb246dcde901b581ecd545d7f2c]

2.3 Search and connect the probe
Select [Search for Probes], choose the device ID (found on the back of the unit), and connect.
[bookmark: _GoBack]Friendly reminder: For further details, please visit the official PeriodMed website at www.periodmed.cn and get in touch with us!
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